## HVAC Design & Commissioning Rep
|  | 2024.08 | HVAC Design & Commissioning Report
HVAC Designer |  | HVAC Contractor
Project Address
Is this for a permit reissue? IF so Address of original.
What software was used for this report
Were Manuals S, J and D followed for Design of system? Verifier must obtain & retain copies of these reports.
Report Summary
Heating Design Loads |  | Cooling Design Loads
# of occupants used in loads |  | Conditioned Space Sq Ft
Total Heat Loss (Heating Season) |  | Total Heat Gain (Cooling Season)
Filtration System
Highest MERV Rating of filter for unit selected |  | Merv
Equipment
Indoor Unit |  |  |  | Ducted?
Efficiency |  | Capacity (kBu)
Indoor Unit
Efficiency |  | Capacity (kBu)
Indoor Unit
Efficiency |  | Capacity (kBu)
Indoor Unit
Efficiency |  | Capacity (kBu)
Indoor Unit
Efficiency |  | Capacity (kBu)
Outdoor Unit |  |  |  | Ducted?
Efficiency |  | Capacity (kBtu)
Outdoor Unit
Efficiency |  | Capacity (kBtu)
Outdoor Unit
Efficiency |  | Capacity (kBtu)
Outdoor Unit
Efficiency |  | Capacity (kBtu)
Outdoor Unit
Efficiency |  | Capacity (kBtu)
Outdoor Unit
Efficiency |  | Capacity (kBtu)
Outdoor Unit
Efficiency |  | Capacity (kBtu)
Outdoor Unit
Efficiency |  | Capacity (kBtu)
Outdoor Unit
Efficiency |  | Capacity (kBtu)
Commissioning Summary
Commissioning Date
Person commissioning unit(s)
Enter Checked Values | Was voltage checked to be in accordance with manufacturer's instructions?
Was burner set to fire at input level specified on furnace nameplate?
Was refrigerant charge verified by super-heat and/or sub-cooling method?
Were air handler settings and fan speeds set in accordance with manufacturer's instructions?
Has the static pressure been checked to be in conformance with manufacturer's instructions?
Has the Delta T been checked to be in conformance with manufacterer's specifications?

## Errata (hidden)
Errata of Version Changes
#REF!
Date | Version | Correction or Change
2024-08-30 | 2024.08 | Redesigned this workbook as specified by Steve Hale.
2024-10-09 | 2024.08 | Changed practice 2.4.10 on tab '4 Scoring & Verification', water leak and water pressure test, as directed by Steve Hale.

## Lists (HIDE) (hidden)
PointList1 | PointList2 | PointList3 | PointList4 | PointList5
Not Met | Not Met | 0 | 0 | 0
Will Be Done | Not Applicable | 0.5 | 1 | 2
Will Be Done
PointList6 | PointList7 | PointList8 | PointList9 | PointList10 | N40, N41
0 | 0 | Not Met | Not Applicable (See Note) | Not Applicable
1 | 3 | In Compliance | Not Met | Accountability Form Verified
2 |  |  | In Compliance
PointList11 | PointList12 | PointList13 | PointList14 | PointList15
0 | 0 | 0 | 0 | In Compliance
4 | 0.5 | 0.5 | 0.5 | Not Applicable
| 1 | 1 | 1
| 1.5 | 1.5 | 1.5
| 2 | 2 | 2
| 2.5 |  | 2.5
| 3 |  | 3
| 3.5 |  | 3.5
| 4 |  | 4
| 4.5 |  | 4.5
5
PointList16 | PointList17 | PointList18 | PointList19 | PointList20
0.5 - Builder-Certified | 1 | Will Obtain | Verifier Will Provide | 0
| 2 |  |  | 0.5
| 3 |  |  | 1
4
PointList21 | PointList22 | PointList23 | PointList24 | PointList25
Not Met | Not Met | Not Met | Not Met | Not Met
Not Applicable | Not Applicable | Accountability Form Verified | 0 | In Compliance, Radon Zone 1
Accountability Form Verified | Accountability Form Verified | In Compliance | 1 | Not Applicable, Radon Zone 2
In Compliance
PointList26 | PointList27 | PointList28 | PointList29 | PointList30
Not Met | 0 | 0 | 0 | 0
Not Applicable | 2 | 1 | 1 | 0.5
In Compliance | Not Applicable | 2 | -1 | 1
|  | 3 |  | 1.5
4
5
PointList31 | PointList32 | PointList33 | PointList34 | PointList35
0 | 0 | None | Yes | 0
1 | 1.5 | Constantly On | No | 1
-1 | 3 | Controlled by Timer | Not Applicable | 2
-2 |  | Controlled by "Smart' Controller | Not Known | 3
Demand-Controlled
PointList36 | PointList37 | PointList38 | PointList39 | PointList40
0 | 0 | Super-heat method | 0 | 0
0.5 | 1 | Sub-cooling method | 0.25 | 0.25
No Landscapable Area | No Landscapable Area | Other (see Note) |  | 0.5
0.75
1
1.25
1.5
PointList41 | PointList42 | PointList43 | PointList44 | PointList45
Not Met | Not Met | 0 | Placeholder tab in Homeowner's Manual | Not Met
In Compliance | 0 | 6 |  | In Compliance
Not Applicable | 1
PointList46 | PointList47 | PointList48 | PointList49 | PointList50
Not Met | 0 | Compliant Gas Fireplace(s) Installed | 0 | 40
Accountability Form Verified | 1 | No Gas Fireplaces Installed | 1
| 2 | NON-COMPLIANT Gas Fireplace(s) Installed | Not Tested
3
PointList51 | PointList52 | PointList53 | PointList54 | PointList55
Yes | Exhaust only | 0 | Not Met | Not Met
No | Supply only | 3 | In Compliance | Exhausted But Not Tested
No HVAC Ducts | HRV | Not Tested | N/A, Not in Rio Rancho | Verified => 100 CFM
ERV
PointList56 | PointList57
None | Less Than 12 Inches
Exhaust Only, NOT Balanced | 12 to 14.9 Inches
Supply Only, NOT Balanced | 15 Inches or Greater
Exhaust or Supply, BALANCED
HRV
ERV
YesNoOrNA | YesOrNo | ClimateZones | MailCertTo | DuctTestCond
Yes | Yes | 3 | Builder | With air handler
No | No | 4 | Homeowner | Without air handler
Not Applicable |  | 5 | Other
6
7
SupDocsList | HourlySeasonal | MERVRating | SBTCBroadband | SBTCEV
Yes | Hourly | 1 | Home verified as 'broadband ready" by BGNM Verifier | Home verified as 'electrical vehicle ready" by BGNM Verifier
No | Seasonal | 2 | Home is not verified as "broadband ready" by BGNM Verifier | Home is not verified as "electrical vehicle ready" by BGNM Verifier
Not Applicable, See Note Below |  | 3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
SBTCFullyElectric | Counties | Counties2 | EquipType | NatDraftEquipLoc
Home verified as 'fully electric building" by BGNM Verifier | Bernalillo | Bernalillo | Natural draft | In Compliant Mechanical Room
Home is not verified as "fully electric building" by BGNM Verifier | Catron | Catron | Direct vent | NOT in Compliant Mechanical Room
| Chaves | Chaves | Power vent
| Cibola | Cibola | Electric
| Colfax | Colfax | Other (see Note)
| Curry | Curry
| De Baca | De Baca
| Dona Ana | Dona Ana
| Eddy | Eddy
| Grant | Grant
| Guadalupe | Guadalupe
| Harding | Harding
| Hildago | Hildago
| Lea | Lea
| Lincoln | Lincoln
| Los Alamos | Los Alamos
| Luna | Luna
| McKinley | McKinley
| Mora | Mora
| Otero | Otero
| Quay | Quay
| Rio Arriba | Rio Arriba
| Roosevelt | Roosevelt
| Sandoval | Sandoval
| San Juan | San Juan
| San Miguel | San Miguel
| Santa Fe | Santa Fe
| Sierra | Sierra
| Socorro | Socorro
| Taos | Taos
| Torrance | Torrance
| Union | Union
| Valencia | Valencia
ACCA_D1 | YesOrNoOrNA | HVACDucts | ACCA-D2 | NatDraftEquipLoc2
Not Applicable | Not Applicable | Not Applicable (See Note) | Yes | In Compliant Mechanical Room
Yes | Yes | Accountability Form Verified | No | NOT in Compliant Mechanical Room
No | No | Not Met | Other (see Notes) | No Natural Draft Equipment
Other (see Note)